## Intro
Unprotect Workbook (for advanced edits)
Re-Protect Workbook

## Rate Calculator
Battery Electric Truck and Bus Charging Cost Calculator (V4.0 Last Updated 2/1/2019)
Utility Rate Schedule |  |  |  | SMUD GS-TOU1 (Above 1000 kW) | [6 empty] | Maximum demand |  |  | 10400 |  | kW
Charging Strategy |  |  |  | Depot Managed | [6 empty] | Charging time per vehicle |  |  |  | 4.4 | hrs
Charger Rating kW |  |  |  | 80 kW | [6 empty] | Daily charging period |  |  |  | 8 | hrs
Vehicles at Meter Location |  |  |  | 200 | [13 empty] | A managed charging strategy can lower demand by charging 65% of your fleet at a time instead of all vehicles simultaneously or lowering charger power.
Daily Miles per Vehicle |  |  |  | 150
Vehicle Energy Use (kWh/mi) |  |  |  | 2.1 | [6 empty] | Annual Electricity Cost
Charging Efficiency |  |  |  | 90% | [7 empty] | 0.11555 |  | /kWh
Taxes and Other Fees |  |  |  | 3% | [7 empty] | 0.24265 |  | $/mile
[21 empty] | TOU Periods |  | On-Peak |  |  | Mid-Peak |  |  | Off-Peak
lower demand | 55% | chg time/vehicle needed | 4.375 | time avail to chg | 8 | On-Rte Charge Demand Adjustment | 100% | Depot Lowest Constant Demand Adjustment | 65% | Max Vehicles/Charger | 1 | Chargers at Location | 200 | Chg rating | 80 | Min Service kW | 1000 | Max Service kW | 10000000 | Rate Type | TOU | Summer Mo | 3
3 Summer Rate Months per Year
| Charging Period |  |  |  |  | 12pm | 1pm | 2pm | 3pm | 4pm | 5pm | 6pm | 7pm | 8pm | 9pm | 10pm | 11pm | 12am | 1am | 2am | 3am | 4am | 5am | 6am | 7am | 8am | 9am | 10am | 11am
| Late Evening (10p-6a) |  |  |  |  | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 65% | 65% | 65% | 65% | 65% | 65% | 65% | 65% | 0% | 0% | 0% | 0% | 0% | 0%
| Summer Time of Use Period --> |  |  |  |  | m | m | p | p | p | p | p | p | m | m | o | o | o | o | o | o | o | o | o | o | o | o | o | o
| Summer Month Energy Use |  |  |  | On-Peak | 1pm: Mid-Peak; 3pm: Off-Peak; 5pm: Total; 9pm: Summer Demand; 2am: Maximum; 4am: On-Peak; 6am: Mid-Peak; 8am: Off-Peak; 10am: Total
| Energy Distribution |  |  |  | 0% | 1pm: 0%; 3pm: 100%; 9pm: Demand by Period; 2am: 65%; 4am: 0%; 6am: 0%; 8am: 65%
| Energy Use (kWh) |  |  |  | 0 | 1pm: 0; 3pm: 2135000; 5pm: 2135000; 9pm: Demand (kW); 2am: 10400; 4am: 0; 6am: 0; 8am: 10400
| Energy Rate ($/kWh) |  |  |  | 0.1696 | 1pm: 0.1357; 3pm: 0.1089; 9pm: Demand Rate ($/kW); 2am: 4.02; 4am: 0; 6am: 0; 8am: 0
| Energy Fee (kWh x $/kWh) |  |  |  | 0 | 1pm: 0; 3pm: 232501.5; 5pm: 232501.5; 9pm: Demand Charge; 2am: 41808; 4am: 0; 6am: 0; 8am: 0; 10am: 41808
[15 empty] | Summer Monthly Bill (with tax/fees & $107.95 meter fee) | [8 empty] | 282649.9735 |  | Cost/kWh = |  | 0.13239 | $/kWh
9 Winter Rate Months per Year
| Charging Period |  |  |  |  | 12pm | 1pm | 2pm | 3pm | 4pm | 5pm | 6pm | 7pm | 8pm | 9pm | 10pm | 11pm | 12am | 1am | 2am | 3am | 4am | 5am | 6am | 7am | 8am | 9am | 10am | 11am
| Late Evening (10p-6a) |  |  |  |  | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 65% | 65% | 65% | 65% | 65% | 65% | 65% | 65% | 0% | 0% | 0% | 0% | 0% | 0%
Winter Time of Use Period --> | bar: 12pm to 11am
| Winter Month Energy Use |  |  |  | On-Peak | 1pm: Mid-Peak; 3pm: Off-Peak; 5pm: Total; 9pm: Winter Demand; 2am: Maximum; 4am: On-Peak; 6am: Mid-Peak; 8am: Off-Peak; 10am: Total
| Energy Distribution |  |  |  | 0% | 1pm: 0%; 3pm: 100%; 9pm: Demand by Period; 2am: 65%; 4am: 0%; 6am: 0%; 8am: 65%
| Energy Use (kWh) |  |  |  | 0 | 1pm: 0; 3pm: 2135000; 5pm: 2135000; 9pm: Demand (kW); 2am: 10400; 4am: 0; 6am: 0; 8am: 10400
| Energy Rate ($/kWh) |  |  |  | 0 | 1pm: 0.1094; 3pm: 0.0871; 9pm: Demand Rate ($/kW); 2am: 4.02; 4am: 0; 6am: 0; 8am: 0
| Energy Fee (kWh x $/kWh) |  |  |  | 0 | 1pm: 0; 3pm: 185958.5; 5pm: 185958.5; 9pm: Demand Charge; 2am: 41808; 4am: 0; 6am: 0; 8am: 0; 10am: 41808
[15 empty] | Winter Monthly Bill (with tax/fees & $107.95 meter cost) | [8 empty] | 234710.6835 |  | Cost/kWh = |  | 0.10993 | $/kWh
kWh/mile 0.6 0.8 1.0 1.2 1.4 1.6 1.8 2.0 2.2 2.4 2.6

## Monthly Rate Calculator
Battery Electric Truck and Bus Charging Cost Calculator (V4 Last Updated 9/XX/2018)
380
Utility Rate Schedule |  |  |  | SMUD GS-TOU3 (300-500 kW)
Charging Strategy |  |  |  | Depot Managed | [13 empty] | A managed charging strategy cannot lower demand currently. This is because the amount of time needed to charge the fleet is close to the maximum time available for charging.
Charger Rating |  |  |  | 19 kW (Level 2 - Max) | [5 empty] | Annual Electricity Cost
Vehicles at Meter Location |  |  |  | 20 | [6 empty] | 0.11436 |  | /kWh |  |  |  | 90%
Charger Efficiency |  |  |  | 90% | [6 empty] | 0.10074 |  | $/mile
Local Taxes and Fees |  |  |  | 3%
[21 empty] | TOU Periods |  | On-Peak |  |  | Mid-Peak |  |  | Off-Peak
January |  |  | Daily Miles | 120 | mi./day |  | Charging Period | Late Evening (10p-6a) |  |  |  | Energy Usage | 0.8 | kWh/mi. | [5 empty] | January Monthly Bill (with taxes/fees) = | 7050.1474 |  |  |  |  | Cost = $0.11/kWh | OR | $0.09/mi.
lower demand | 70% | chg time/bus needed | 5.614 | chg time in schedule | 8 | Fast Charge Demand Adjustment | 100% | Depot Lowest Constant Demand Adjustment | 80% | Max Vehicles/Charger | 1 | Chargers at Location | 20 | Chg rating | 19 | Min Service kW | 300 | Max Service kW | 500 | Rate Type | TOU | Summer Mo | 3
| Charging Period |  |  |  |  | 12p | 1p | 2p | 3p | 4p | 5p | 6p | 7p | 8p | 9p | 10p | 11p | 12a | 1a | 2a | 3a | 4a | 5a | 6a | 7a | 8a | 9a | 10a | 11a
| Late Evening (10p-6a) |  |  |  |  | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 80% | 80% | 80% | 80% | 80% | 80% | 80% | 80% | 0% | 0% | 0% | 0% | 0% | 0%
January Time of Use Period --> | bar: 12p to 11a
| January Month Energy Use |  |  |  | On-Peak | 1p: Mid-Peak; 3p: Off-Peak; 5p: Total; 9p: January Demand; 2a: Maximum; 4a: On-Peak; 6a: Mid-Peak; 8a: Off-Peak; 10a: Total
| Energy Distribution |  |  |  | 0% | 1p: 0%; 3p: 100%; 9p: Demand by Period; 2a: 80%; 4a: 0%; 6a: 0%; 8a: 80%
| Energy Use (kWh) |  |  |  | 0 | 1p: 0; 3p: 66133.3333; 5p: 66133.3333; 9p: Demand (kW); 2a: 304; 4a: 0; 6a: 0; 8a: 304
| Energy Rate ($/kWh) |  |  |  | 0.1059 | 1p: 0; 3p: 0.0844; 9p: Demand Rate ($/kW); 2a: 3.8; 4a: 0; 6a: 0; 8a: 0
| Energy Fee (kWh x $/kWh) |  |  |  | 0 | 1p: 0; 3p: 5581.6533; 5p: 5581.6533; 9p: Demand Charge; 2a: 1155.2; 4a: 0; 6a: 0; 8a: 0; 10a: 1155.2
February |  |  | Daily Miles | 100 | mi./day | 1p: Charging Period; 2p: Late Evening (10p-6a); 6p: Energy Usage; 7p: 0.8; 8p: kWh/mi.; 2a: February Monthly Bill (with taxes/fees) =; 3a: 5518.2307; 8a: Cost = $0.11/kWh; 9a: OR; 10a: $0.09/mi.
lower demand | 60% | chg time/bus needed | 4.6784 | chg time in schedule | 8 | Fast Charge Demand Adjustment | 100% | Depot Lowest Constant Demand Adjustment | 70% | Max Vehicles/Charger | 1 | Chargers at Location | 20 | Chg rating | 19 | Min Service kW | 300 | Max Service kW | 500 | Rate Type | TOU | Summer Mo | 3
| Charging Period |  |  |  |  | 12p | 1p | 2p | 3p | 4p | 5p | 6p | 7p | 8p | 9p | 10p | 11p | 12a | 1a | 2a | 3a | 4a | 5a | 6a | 7a | 8a | 9a | 10a | 11a
| Late Evening (10p-6a) |  |  |  |  | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 70% | 70% | 70% | 70% | 70% | 70% | 70% | 70% | 0% | 0% | 0% | 0% | 0% | 0%
February Time of Use Period --> | bar: 12p to 11a
| February Month Energy Use |  |  |  | On-Peak | 1p: Mid-Peak; 3p: Off-Peak; 5p: Total; 9p: February Demand; 2a: Maximum; 4a: On-Peak; 6a: Mid-Peak; 8a: Off-Peak; 10a: Total
| Energy Distribution |  |  |  | 0% | 1p: 0%; 3p: 100%; 9p: Demand by Period; 2a: 70%; 4a: 0%; 6a: 0%; 8a: 70%
| Energy Use (kWh) |  |  |  | 0 | 1p: 0; 3p: 50222.2222; 5p: 50222.2222; 9p: Demand (kW); 2a: 266; 4a: 0; 6a: 0; 8a: 266
| Energy Rate ($/kWh) |  |  |  | 0.1059 | 1p: 0; 3p: 0.0844; 9p: Demand Rate ($/kW); 2a: 3.8; 4a: 0; 6a: 0; 8a: 0
| Energy Fee (kWh x $/kWh) |  |  |  | 0 | 1p: 0; 3p: 4238.7556; 5p: 4238.7556; 9p: Demand Charge; 2a: 1010.8; 4a: 0; 6a: 0; 8a: 0; 10a: 1010.8
March |  |  | Daily Miles | 110 | mi./day | 1p: Charging Period; 2p: Late Evening (10p-6a); 6p: Energy Usage; 7p: 0.8; 8p: kWh/mi.; 2a: March Monthly Bill (with taxes/fees) =; 3a: 6496.6895; 8a: Cost = $0.11/kWh; 9a: OR; 10a: $0.09/mi.
lower demand | 65% | chg time/bus needed | 5.1462 | chg time in schedule | 8 | Fast Charge Demand Adjustment | 100% | Depot Lowest Constant Demand Adjustment | 75% | Max Vehicles/Charger | 1 | Chargers at Location | 20 | Chg rating | 19 | Min Service kW | 300 | Max Service kW | 500 | Rate Type | TOU | Summer Mo | 3
| Charging Period |  |  |  |  | 12p | 1p | 2p | 3p | 4p | 5p | 6p | 7p | 8p | 9p | 10p | 11p | 12a | 1a | 2a | 3a | 4a | 5a | 6a | 7a | 8a | 9a | 10a | 11a
| Late Evening (10p-6a) |  |  |  |  | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 75% | 75% | 75% | 75% | 75% | 75% | 75% | 75% | 0% | 0% | 0% | 0% | 0% | 0%
March Time of Use Period --> | bar: 12p to 11a
| March Month Energy Use |  |  |  | On-Peak | 1p: Mid-Peak; 3p: Off-Peak; 5p: Total; 9p: March Demand; 2a: Maximum; 4a: On-Peak; 6a: Mid-Peak; 8a: Off-Peak; 10a: Total
| Energy Distribution |  |  |  | 0% | 1p: 0%; 3p: 100%; 9p: Demand by Period; 2a: 75%; 4a: 0%; 6a: 0%; 8a: 75%
| Energy Use (kWh) |  |  |  | 0 | 1p: 0; 3p: 60622.2222; 5p: 60622.2222; 9p: Demand (kW); 2a: 285; 4a: 0; 6a: 0; 8a: 285
| Energy Rate ($/kWh) |  |  |  | 0.1059 | 1p: 0; 3p: 0.0844; 9p: Demand Rate ($/kW); 2a: 3.8; 4a: 0; 6a: 0; 8a: 0
| Energy Fee (kWh x $/kWh) |  |  |  | 0 | 1p: 0; 3p: 5116.5156; 5p: 5116.5156; 9p: Demand Charge; 2a: 1083; 4a: 0; 6a: 0; 8a: 0; 10a: 1083
April |  |  | Daily Miles | 80 | mi./day | 1p: Charging Period; 2p: Late Evening (10p-6a); 6p: Energy Usage; 7p: 0.9; 8p: kWh/mi.; 2a: April Monthly Bill (with taxes/fees) =; 3a: 5250.6825; 8a: Cost = $0.11/kWh; 9a: OR; 10a: $0.10/mi.
lower demand | 55% | chg time/bus needed | 4.2105 | chg time in schedule | 8 | Fast Charge Demand Adjustment | 100% | Depot Lowest Constant Demand Adjustment | 65% | Max Vehicles/Charger | 1 | Chargers at Location | 20 | Chg rating | 19 | Min Service kW | 300 | Max Service kW | 500 | Rate Type | TOU | Summer Mo | 3
| Charging Period |  |  |  |  | 12p | 1p | 2p | 3p | 4p | 5p | 6p | 7p | 8p | 9p | 10p | 11p | 12a | 1a | 2a | 3a | 4a | 5a | 6a | 7a | 8a | 9a | 10a | 11a
| Late Evening (10p-6a) |  |  |  |  | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 65% | 65% | 65% | 65% | 65% | 65% | 65% | 65% | 0% | 0% | 0% | 0% | 0% | 0%
April Time of Use Period --> | bar: 12p to 11a
| April Month Energy Use |  |  |  | On-Peak | 1p: Mid-Peak; 3p: Off-Peak; 5p: Total; 9p: April Demand; 2a: Maximum; 4a: On-Peak; 6a: Mid-Peak; 8a: Off-Peak; 10a: Total
| Energy Distribution |  |  |  | 0% | 1p: 0%; 3p: 100%; 9p: Demand by Period; 2a: 65%; 4a: 0%; 6a: 0%; 8a: 65%
| Energy Use (kWh) |  |  |  | 0 | 1p: 0; 3p: 48000; 5p: 48000; 9p: Demand (kW); 2a: 247; 4a: 0; 6a: 0; 8a: 247
| Energy Rate ($/kWh) |  |  |  | 0.1059 | 1p: 0; 3p: 0.0844; 9p: Demand Rate ($/kW); 2a: 3.8; 4a: 0; 6a: 0; 8a: 0
| Energy Fee (kWh x $/kWh) |  |  |  | 0 | 1p: 0; 3p: 4051.2; 5p: 4051.2; 9p: Demand Charge; 2a: 938.6; 4a: 0; 6a: 0; 8a: 0; 10a: 938.6
May |  |  | Daily Miles | 80 | mi./day | 1p: Charging Period; 2p: Late Evening (10p-6a); 6p: Energy Usage; 7p: 0.9; 8p: kWh/mi.; 2a: May Monthly Bill (with taxes/fees) =; 3a: 5389.7737; 8a: Cost = $0.11/kWh; 9a: OR; 10a: $0.10/mi.
lower demand | 55% | chg time/bus needed | 4.2105 | chg time in schedule | 8 | Fast Charge Demand Adjustment | 100% | Depot Lowest Constant Demand Adjustment | 65% | Max Vehicles/Charger | 1 | Chargers at Location | 20 | Chg rating | 19 | Min Service kW | 300 | Max Service kW | 500 | Rate Type | TOU | Summer Mo | 3
| Charging Period |  |  |  |  | 12p | 1p | 2p | 3p | 4p | 5p | 6p | 7p | 8p | 9p | 10p | 11p | 12a | 1a | 2a | 3a | 4a | 5a | 6a | 7a | 8a | 9a | 10a | 11a
| Late Evening (10p-6a) |  |  |  |  | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 65% | 65% | 65% | 65% | 65% | 65% | 65% | 65% | 0% | 0% | 0% | 0% | 0% | 0%
May Time of Use Period --> | bar: 12p to 11a
| May Month Energy Use |  |  |  | On-Peak | 1p: Mid-Peak; 3p: Off-Peak; 5p: Total; 9p: May Demand; 2a: Maximum; 4a: On-Peak; 6a: Mid-Peak; 8a: Off-Peak; 10a: Total
| Energy Distribution |  |  |  | 0% | 1p: 0%; 3p: 100%; 9p: Demand by Period; 2a: 65%; 4a: 0%; 6a: 0%; 8a: 65%
| Energy Use (kWh) |  |  |  | 0 | 1p: 0; 3p: 49600; 5p: 49600; 9p: Demand (kW); 2a: 247; 4a: 0; 6a: 0; 8a: 247
| Energy Rate ($/kWh) |  |  |  | 0.1059 | 1p: 0; 3p: 0.0844; 9p: Demand Rate ($/kW); 2a: 3.8; 4a: 0; 6a: 0; 8a: 0
| Energy Fee (kWh x $/kWh) |  |  |  | 0 | 1p: 0; 3p: 4186.24; 5p: 4186.24; 9p: Demand Charge; 2a: 938.6; 4a: 0; 6a: 0; 8a: 0; 10a: 938.6
June |  |  | Daily Miles | 80 | mi./day | 1p: Charging Period; 2p: Late Evening (10p-6a); 6p: Energy Usage; 7p: 0.9; 8p: kWh/mi.; 2a: June Monthly Bill (with taxes/fees) =; 3a: 5250.6825; 8a: Cost = $0.11/kWh; 9a: OR; 10a: $0.10/mi.
lower demand | 55% | chg time/bus needed | 4.2105 | chg time in schedule | 8 | Fast Charge Demand Adjustment | 100% | Depot Lowest Constant Demand Adjustment | 65% | Max Vehicles/Charger | 1 | Chargers at Location | 20 | Chg rating | 19 | Min Service kW | 300 | Max Service kW | 500 | Rate Type | TOU | Summer Mo | 3
| Charging Period |  |  |  |  | 12p | 1p | 2p | 3p | 4p | 5p | 6p | 7p | 8p | 9p | 10p | 11p | 12a | 1a | 2a | 3a | 4a | 5a | 6a | 7a | 8a | 9a | 10a | 11a
| Late Evening (10p-6a) |  |  |  |  | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 65% | 65% | 65% | 65% | 65% | 65% | 65% | 65% | 0% | 0% | 0% | 0% | 0% | 0%
June Time of Use Period --> | bar: 12p to 11a
| June Month Energy Use |  |  |  | On-Peak | 1p: Mid-Peak; 3p: Off-Peak; 5p: Total; 9p: June Demand; 2a: Maximum; 4a: On-Peak; 6a: Mid-Peak; 8a: Off-Peak; 10a: Total
| Energy Distribution |  |  |  | 0% | 1p: 0%; 3p: 100%; 9p: Demand by Period; 2a: 65%; 4a: 0%; 6a: 0%; 8a: 65%
| Energy Use (kWh) |  |  |  | 0 | 1p: 0; 3p: 48000; 5p: 48000; 9p: Demand (kW); 2a: 247; 4a: 0; 6a: 0; 8a: 247
| Energy Rate ($/kWh) |  |  |  | 0.1059 | 1p: 0; 3p: 0.0844; 9p: Demand Rate ($/kW); 2a: 3.8; 4a: 0; 6a: 0; 8a: 0
| Energy Fee (kWh x $/kWh) |  |  |  | 0 | 1p: 0; 3p: 4051.2; 5p: 4051.2; 9p: Demand Charge; 2a: 938.6; 4a: 0; 6a: 0; 8a: 0; 10a: 938.6
July |  |  | Daily Miles | 80 | mi./day | 1p: Charging Period; 2p: Late Evening (10p-6a); 6p: Energy Usage; 7p: 1; 8p: kWh/mi.; 2a: July Monthly Bill (with taxes/fees) =; 3a: 7430.4601; 8a: Cost = $0.13/kWh; 9a: OR; 10a: $0.13/mi.
lower demand | 60% | chg time/bus needed | 4.6784 | chg time in schedule | 8 | Fast Charge Demand Adjustment | 100% | Depot Lowest Constant Demand Adjustment | 70% | Max Vehicles/Charger | 1 | Chargers at Location | 20 | Chg rating | 19 | Min Service kW | 300 | Max Service kW | 500 | Rate Type | TOU | Summer Mo | 3
| Charging Period |  |  |  |  | 12p | 1p | 2p | 3p | 4p | 5p | 6p | 7p | 8p | 9p | 10p | 11p | 12a | 1a | 2a | 3a | 4a | 5a | 6a | 7a | 8a | 9a | 10a | 11a
| Late Evening (10p-6a) |  |  |  |  | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 70% | 70% | 70% | 70% | 70% | 70% | 70% | 70% | 0% | 0% | 0% | 0% | 0% | 0%
| July Time of Use Period --> |  |  |  |  | m | m | p | p | p | p | p | p | m | m | o | o | o | o | o | o | o | o | o | o | o | o | o | o
| July Month Energy Use |  |  |  | On-Peak | 1p: Mid-Peak; 3p: Off-Peak; 5p: Total; 9p: July Demand; 2a: Maximum; 4a: On-Peak; 6a: Mid-Peak; 8a: Off-Peak; 10a: Total
| Energy Distribution |  |  |  | 0% | 1p: 0%; 3p: 100%; 9p: Demand by Period; 2a: 70%; 4a: 0%; 6a: 0%; 8a: 70%
| Energy Use (kWh) |  |  |  | 0 | 1p: 0; 3p: 55111.1111; 5p: 55111.1111; 9p: Demand (kW); 2a: 266; 4a: 0; 6a: 0; 8a: 266
| Energy Rate ($/kWh) |  |  |  | 0.2022 | 1p: 0.1387; 3p: 0.1106; 9p: Demand Rate ($/kW); 2a: 3.8; 4a: 7.65; 6a: 0; 8a: 0
| Energy Fee (kWh x $/kWh) |  |  |  | 0 | 1p: 0; 3p: 6095.2889; 5p: 6095.2889; 9p: Demand Charge; 2a: 1010.8; 4a: 0; 6a: 0; 8a: 0; 10a: 1010.8
August |  |  | Daily Miles | 80 | mi./day | 1p: Charging Period; 2p: Late Evening (10p-6a); 6p: Energy Usage; 7p: 1; 8p: kWh/mi.; 2a: August Monthly Bill (with taxes/fees) =; 3a: 7430.4601; 8a: Cost = $0.13/kWh; 9a: OR; 10a: $0.13/mi.
lower demand | 60% | chg time/bus needed | 4.6784 | chg time in schedule | 8 | Fast Charge Demand Adjustment | 100% | Depot Lowest Constant Demand Adjustment | 70% | Max Vehicles/Charger | 1 | Chargers at Location | 20 | Chg rating | 19 | Min Service kW | 300 | Max Service kW | 500 | Rate Type | TOU | Summer Mo | 3
| Charging Period |  |  |  |  | 12p | 1p | 2p | 3p | 4p | 5p | 6p | 7p | 8p | 9p | 10p | 11p | 12a | 1a | 2a | 3a | 4a | 5a | 6a | 7a | 8a | 9a | 10a | 11a
| Late Evening (10p-6a) |  |  |  |  | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 70% | 70% | 70% | 70% | 70% | 70% | 70% | 70% | 0% | 0% | 0% | 0% | 0% | 0%
| August Time of Use Period --> |  |  |  |  | m | m | p | p | p | p | p | p | m | m | o | o | o | o | o | o | o | o | o | o | o | o | o | o
| August Month Energy Use |  |  |  | On-Peak | 1p: Mid-Peak; 3p: Off-Peak; 5p: Total; 9p: August Demand; 2a: Maximum; 4a: On-Peak; 6a: Mid-Peak; 8a: Off-Peak; 10a: Total
| Energy Distribution |  |  |  | 0% | 1p: 0%; 3p: 100%; 9p: Demand by Period; 2a: 70%; 4a: 0%; 6a: 0%; 8a: 70%
| Energy Use (kWh) |  |  |  | 0 | 1p: 0; 3p: 55111.1111; 5p: 55111.1111; 9p: Demand (kW); 2a: 266; 4a: 0; 6a: 0; 8a: 266
| Energy Rate ($/kWh) |  |  |  | 0.2022 | 1p: 0.1387; 3p: 0.1106; 9p: Demand Rate ($/kW); 2a: 3.8; 4a: 7.65; 6a: 0; 8a: 0
| Energy Fee (kWh x $/kWh) |  |  |  | 0 | 1p: 0; 3p: 6095.2889; 5p: 6095.2889; 9p: Demand Charge; 2a: 1010.8; 4a: 0; 6a: 0; 8a: 0; 10a: 1010.8
September |  |  | Daily Miles | 90 | mi./day | 1p: Charging Period; 2p: Late Evening (10p-6a); 6p: Energy Usage; 7p: 1; 8p: kWh/mi.; 2a: September Monthly Bill (with taxes/fees) =; 3a: 8061.7585; 8a: Cost = $0.13/kWh; 9a: OR; 10a: $0.13/mi.
lower demand | 65% | chg time/bus needed | 5.2632 | chg time in schedule | 8 | Fast Charge Demand Adjustment | 100% | Depot Lowest Constant Demand Adjustment | 75% | Max Vehicles/Charger | 1 | Chargers at Location | 20 | Chg rating | 19 | Min Service kW | 300 | Max Service kW | 500 | Rate Type | TOU | Summer Mo | 3
| Charging Period |  |  |  |  | 12p | 1p | 2p | 3p | 4p | 5p | 6p | 7p | 8p | 9p | 10p | 11p | 12a | 1a | 2a | 3a | 4a | 5a | 6a | 7a | 8a | 9a | 10a | 11a
| Late Evening (10p-6a) |  |  |  |  | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 75% | 75% | 75% | 75% | 75% | 75% | 75% | 75% | 0% | 0% | 0% | 0% | 0% | 0%
| September Time of Use Period --> |  |  |  |  | m | m | p | p | p | p | p | p | m | m | o | o | o | o | o | o | o | o | o | o | o | o | o | o
| September Month Energy Use |  |  |  | On-Peak | 1p: Mid-Peak; 3p: Off-Peak; 5p: Total; 9p: September Demand; 2a: Maximum; 4a: On-Peak; 6a: Mid-Peak; 8a: Off-Peak; 10a: Total
| Energy Distribution |  |  |  | 0% | 1p: 0%; 3p: 100%; 9p: Demand by Period; 2a: 75%; 4a: 0%; 6a: 0%; 8a: 75%
| Energy Use (kWh) |  |  |  | 0 | 1p: 0; 3p: 60000; 5p: 60000; 9p: Demand (kW); 2a: 285; 4a: 0; 6a: 0; 8a: 285
| Energy Rate ($/kWh) |  |  |  | 0.2022 | 1p: 0.1387; 3p: 0.1106; 9p: Demand Rate ($/kW); 2a: 3.8; 4a: 7.65; 6a: 0; 8a: 0
| Energy Fee (kWh x $/kWh) |  |  |  | 0 | 1p: 0; 3p: 6636; 5p: 6636; 9p: Demand Charge; 2a: 1083; 4a: 0; 6a: 0; 8a: 0; 10a: 1083
October |  |  | Daily Miles | 100 | mi./day | 1p: Charging Period; 2p: Late Evening (10p-6a); 6p: Energy Usage; 7p: 0.9; 8p: kWh/mi.; 2a: October Monthly Bill (with taxes/fees) =; 3a: 6616.4625; 8a: Cost = $0.11/kWh; 9a: OR; 10a: $0.10/mi.
lower demand | 65% | chg time/bus needed | 5.2632 | chg time in schedule | 8 | Fast Charge Demand Adjustment | 100% | Depot Lowest Constant Demand Adjustment | 75% | Max Vehicles/Charger | 1 | Chargers at Location | 20 | Chg rating | 19 | Min Service kW | 300 | Max Service kW | 500 | Rate Type | TOU | Summer Mo | 3
| Charging Period |  |  |  |  | 12p | 1p | 2p | 3p | 4p | 5p | 6p | 7p | 8p | 9p | 10p | 11p | 12a | 1a | 2a | 3a | 4a | 5a | 6a | 7a | 8a | 9a | 10a | 11a
| Late Evening (10p-6a) |  |  |  |  | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 75% | 75% | 75% | 75% | 75% | 75% | 75% | 75% | 0% | 0% | 0% | 0% | 0% | 0%
October Time of Use Period --> | bar: 12p to 11a
| October Month Energy Use |  |  |  | On-Peak | 1p: Mid-Peak; 3p: Off-Peak; 5p: Total; 9p: October Demand; 2a: Maximum; 4a: On-Peak; 6a: Mid-Peak; 8a: Off-Peak; 10a: Total
| Energy Distribution |  |  |  | 0% | 1p: 0%; 3p: 100%; 9p: Demand by Period; 2a: 75%; 4a: 0%; 6a: 0%; 8a: 75%
| Energy Use (kWh) |  |  |  | 0 | 1p: 0; 3p: 62000; 5p: 62000; 9p: Demand (kW); 2a: 285; 4a: 0; 6a: 0; 8a: 285
| Energy Rate ($/kWh) |  |  |  | 0.1059 | 1p: 0; 3p: 0.0844; 9p: Demand Rate ($/kW); 2a: 3.8; 4a: 0; 6a: 0; 8a: 0
| Energy Fee (kWh x $/kWh) |  |  |  | 0 | 1p: 0; 3p: 5232.8; 5p: 5232.8; 9p: Demand Charge; 2a: 1083; 4a: 0; 6a: 0; 8a: 0; 10a: 1083
November |  |  | Daily Miles | 120 | mi./day | 1p: Charging Period; 2p: Late Evening (10p-6a); 6p: Energy Usage; 7p: 0.9; 8p: kWh/mi.; 2a: November Monthly Bill (with taxes/fees) =; 3a: 7857.6125; 8a: Cost = $0.11/kWh; 9a: OR; 10a: $0.10/mi.
lower demand | 80% | chg time/bus needed | 6.3158 | chg time in schedule | 8 | Fast Charge Demand Adjustment | 100% | Depot Lowest Constant Demand Adjustment | 100% | Max Vehicles/Charger | 1 | Chargers at Location | 20 | Chg rating | 19 | Min Service kW | 300 | Max Service kW | 500 | Rate Type | TOU | Summer Mo | 3
| Charging Period |  |  |  |  | 12p | 1p | 2p | 3p | 4p | 5p | 6p | 7p | 8p | 9p | 10p | 11p | 12a | 1a | 2a | 3a | 4a | 5a | 6a | 7a | 8a | 9a | 10a | 11a
| Late Evening (10p-6a) |  |  |  |  | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 0% | 0% | 0% | 0% | 0% | 0%
November Time of Use Period --> | bar: 12p to 11a
| November Month Energy Use |  |  |  | On-Peak | 1p: Mid-Peak; 3p: Off-Peak; 5p: Total; 9p: November Demand; 2a: Maximum; 4a: On-Peak; 6a: Mid-Peak; 8a: Off-Peak; 10a: Total
| Energy Distribution |  |  |  | 0% | 1p: 0%; 3p: 100%; 9p: Demand by Period; 2a: 100%; 4a: 0%; 6a: 0%; 8a: 100%
| Energy Use (kWh) |  |  |  | 0 | 1p: 0; 3p: 72000; 5p: 72000; 9p: Demand (kW); 2a: 380; 4a: 0; 6a: 0; 8a: 380
| Energy Rate ($/kWh) |  |  |  | 0.1059 | 1p: 0; 3p: 0.0844; 9p: Demand Rate ($/kW); 2a: 3.8; 4a: 0; 6a: 0; 8a: 0
| Energy Fee (kWh x $/kWh) |  |  |  | 0 | 1p: 0; 3p: 6076.8; 5p: 6076.8; 9p: Demand Charge; 2a: 1444; 4a: 0; 6a: 0; 8a: 0; 10a: 1444
December |  |  | Daily Miles | 150 | mi./day | 1p: Charging Period; 2p: Late Evening (10p-6a); 6p: Energy Usage; 7p: 0.8; 8p: kWh/mi.; 2a: December Monthly Bill (with taxes/fees) =; 3a: 8784.8872; 8a: Cost = $0.11/kWh; 9a: OR; 10a: $0.09/mi.
lower demand | 90% | chg time/bus needed | 7.0175 | chg time in schedule | 8 | Fast Charge Demand Adjustment | 100% | Depot Lowest Constant Demand Adjustment | 100% | Max Vehicles/Charger | 1 | Chargers at Location | 20 | Chg rating | 19 | Min Service kW | 300 | Max Service kW | 500 | Rate Type | TOU | Summer Mo | 3
| Charging Period |  |  |  |  | 12p | 1p | 2p | 3p | 4p | 5p | 6p | 7p | 8p | 9p | 10p | 11p | 12a | 1a | 2a | 3a | 4a | 5a | 6a | 7a | 8a | 9a | 10a | 11a
| Late Evening (10p-6a) |  |  |  |  | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 0% | 0% | 0% | 0% | 0% | 0%
December Time of Use Period --> | bar: 12p to 11a
| December Month Energy Use |  |  |  | On-Peak | 1p: Mid-Peak; 3p: Off-Peak; 5p: Total; 9p: December Demand; 2a: Maximum; 4a: On-Peak; 6a: Mid-Peak; 8a: Off-Peak; 10a: Total
| Energy Distribution |  |  |  | 0% | 1p: 0%; 3p: 100%; 9p: Demand by Period; 2a: 100%; 4a: 0%; 6a: 0%; 8a: 100%
| Energy Use (kWh) |  |  |  | 0 | 1p: 0; 3p: 82666.6667; 5p: 82666.6667; 9p: Demand (kW); 2a: 380; 4a: 0; 6a: 0; 8a: 380
| Energy Rate ($/kWh) |  |  |  | 0.1059 | 1p: 0; 3p: 0.0844; 9p: Demand Rate ($/kW); 2a: 3.8; 4a: 0; 6a: 0; 8a: 0
| Energy Fee (kWh x $/kWh) |  |  |  | 0 | 1p: 0; 3p: 6977.0667; 5p: 6977.0667; 9p: Demand Charge; 2a: 1444; 4a: 0; 6a: 0; 8a: 0; 10a: 1444

## Data
[16 empty] | SMUD GS-TOU1 (Above 1000 kW) |  |  | m | m | p | p | p | p | p | p | m | m | o | o | o | o | o | o | o | o | o | o | o | o | o | o | m | m | m | m | m | m | m | m | m | m | o | o | o | o | o | o | o | o | o | o | o | o | o | o
Note: Summer Peak/Mid/Off-Peak periods shown above is for the rate schedule currently selected on the "Rate Calculator" tab.
[19 empty] | Summer Months | [23 empty] | Winter Months
Charger Selection | [5 empty] | Charging Type |  | Max Bus/ | Depot = 1 | Chg Min/ | Demand kW |  |  |  |  | Charging Periods |  | Start: | 12 pm | 1 pm | 2 pm | 3 pm | 4 pm | 5 pm | 6 pm | 7 pm | 8 pm | 9 pm | 10 pm | 11 pm | 12 am | 1 am | 2 am | 3 am | 4 am | 5 am | 6 am | 7 am | 8 am | 9 am | 10 am | 11 am | 12 pm | 1 pm | 2 pm | 3 pm | 4 pm | 5 pm | 6 pm | 7 pm | 8 pm | 9 pm | 10 pm | 11 pm | 12 am | 1 am | 2 am | 3 am | 4 am | 5 am | 6 am | 7 am | 8 am | 9 am | 10 am | 11 am | Summer | Winter
Description | Rating kW |  |  |  |  | Description |  | Charge/hr | OnRoute=0 | 15 min | Adjustment |  |  |  |  | for Selection |  | End: | 1 pm | 2 pm | 3 pm | 4 pm | 5 pm | 6 pm | 7 pm | 8 pm | 9 pm | 10 pm | 11 pm | 12 am | 1 am | 2 am | 3 am | 4 am | 5 am | 6 am | 7 am | 8 am | 9 am | 10 am | 11 am | 12 pm | 1 pm | 2 pm | 3 pm | 4 pm | 5 pm | 6 pm | 7 pm | 8 pm | 9 pm | 10 pm | 11 pm | 12 am | 1 am | 2 am | 3 am | 4 am | 5 am | 6 am | 7 am | 8 am | 9 am | 10 am | 11 am | 12 pm | Chg Time | Chg Time
Lookup Value | 2 |  |  |  |  | Lookup Value |  | 3 | 4 | 5 | 6 |  |  |  |  | Lookup Value |  |  | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 53
10 kW (Level 2 - Standard) | 10 |  |  |  |  | Depot Managed |  | 1 | 1 | 15 | Software |  |  |  |  | Day Time (6a-10p) |  |  | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 100% | 100% | 100% | 100% | 100% | 100% | 16 | 16
19 kW (Level 2 - Max) | 19 |  |  |  |  | Depot Unmanaged |  | 1 | 1 | 15 | 100% |  |  |  |  | Evening (7p-6a) |  |  | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 0% | 0% | 0% | 0% | 0% | 0% | 11 | 11
30 kW | 30 |  |  |  |  | On-Route 8 of 15 min |  | 8 | 0 | 8 | 53.33% |  |  |  |  | Late Evening (10p-6a) |  |  | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 0% | 0% | 0% | 0% | 0% | 0% | 8 | 8
40 kW | 40 |  |  |  |  | On-Route 10 of 15 min |  | 6 | 0 | 10 | 66.67% |  |  |  |  | Late Night (12p-6a) |  |  | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 100% | 100% | 100% | 100% | 100% | 100% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 100% | 100% | 100% | 100% | 100% | 100% | 0% | 0% | 0% | 0% | 0% | 0% | 6 | 6
50 kW | 50 |  |  |  |  | On-Route 12 of 15 min |  | 6 | 0 | 12 | 80% |  |  |  |  | Night+Day (11p-6a & 10a-12p) |  |  | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 0% | 0% | 0% | 0% | 100% | 100% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 0% | 0% | 0% | 0% | 100% | 100% | 9 | 9
60 kW | 60 |  |  |  |  | User Charge Strategy 1 |  | 1 | 1 | 15 | Software |  |  |  |  | Short Night (12a to 5a) |  |  | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 100% | 100% | 100% | 100% | 100% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 100% | 100% | 100% | 100% | 100% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 5 | 5
80 kW | 80 |  |  |  |  | User Charge Strategy 2 |  | 2 | 1 | 15 | Software |  |  |  |  | Short Night & 1 hr Day (12a to 5a & 12p to 1p) |  |  | 100% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 100% | 100% | 100% | 100% | 100% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 100% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 100% | 100% | 100% | 100% | 100% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 6 | 6
100 kW | 100 |  |  |  |  | User Charge Strategy 3 |  | 1 | 1 | [6 empty] | User input charging period 1 |  |  | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 0% | 0% | 0% | 0% | 0% | 0% | 8 | 8
250 kW | 250 | [14 empty] | User input charging period 2 |  |  | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 8 | 8
500 kW | 500
User Charger 1 | 120 | [14 empty] | Note: | Values greater than zero reflect periods when charging occurs in that hour during the month. 0% means no charging occurs in that hour.
User Charger 2 | 300 | [15 empty] | For Depot Charging, 50% means half of fleet vehicles are plugged in and available to charge during the hour.
For On-Route charging, value less than 100% means charger maximum capacity (kW) limited during the hour.
Rate Schedule Table | Meter | Summer Demand $/kW |  |  |  | Winter Demand $/kW |  |  |  | TOU Summer Usage $/kWh |  |  | TOU Winter Usage $/kWh |  |  | Eff. Date of | Summer On-Peak=p/Mid=m/Off-Peak=o Periods |  | Summer Months 10 am 11 am 26: Winter On-Peak=p/Mid=m/Off-Peak=o Periods; Winter Months 10 am 11 am 50: Summer Rate Months = 1 | [8 empty] | Summer | Rate | Service Capacity (kW) |  | Rate | Summer $/kWh |  |  | Summer kWh Limit |  | Winter $/kWh |  |  | Winter kWh Limit |  | Other Notes
| Fee/Mo | Maximum | Peak | Mid Peak | Off Peak | Maximum | Peak | Mid Peak | Off Peak | Peak | Mid Peak | Off Peak | Peak | Mid Peak | Off Peak | Tariff | 12p | 1p | 2p | 3p | 4p | 5p | 6p | 7p | 8p | 9p | 10p | 11p | 12a | 1a | 2a | 3a | 4a | 5a | 6a | 7a | 8a | 9a | 10a | 11a | 12p | 1p | 2p | 3p | 4p | 5p | 6p | 7p | 8p | 9p | 10p | 11p | 12a | 1a | 2a | 3a | 4a | 5a | 6a | 7a | 8a | 9a | 10a | 11a | J | F | M | A | M | J | Ju | Au | S | O | N | D | Months | Description | Lower | Upper | Type | Tier 1 | Tier2 | Tier 3 | Tier 1 | Tier 2 | Tier 1 | Tier2 | Tier 3 | Tier 1 | Tier 2
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 53 | 54 | 55 | 56 | 57 | 58 | 59 | 60 | 61 | 62 | 63 | 64 | 65 | 66 | 67 | 68 | 69 | 70 | 71 | 72 | 73 | 74 | 75 | 76 | 77 | 78 | 79 | 80 | 81 | 82 | 83 | 84 | 85 | 86 | 87 | 88 | 89 | 90 | 91 | 92 | 93
Anaheim GS-1 (0-200 kW) | -10.88 | 12.27 | 0 | 0 | 0 | 12.27 | 0 | 0 | 0 | 0 | 0 | 0.1214 | 0 | 0 | 0.1214 | 2017-05-01 | [48 empty] | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 12 | Service between 0-200 kW | 0 | 200 | TOU | [10 empty] | Anaheim GS-1 charges $126.20 for all demand below 15 kW. This has been modeled by adjusting the meter fee downwards resulting in a negative meter fee. | bar: Summer On-Peak=p/Mid=m/Off-Peak=o Periods 12p to Winter On-Peak=p/Mid=m/Off-Peak=o Periods 11a
Anaheim GS-2 (200-500 kW) | -0.09 | 15.65 | 0 | 0 | 0 | 15.65 | 0 | 0 | 0 | 0.1135 | 0.1135 | 0.1135 | 0.1135 | 0.1135 | 0.1135 | 2017-05-01 | [48 empty] | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 12 | Service between 200-500 kW | 200 | 500 | Tier | 0.1135 | 0.0835 |  | 108000 | [6 empty] | Anaheim GS-2 charges $2769.00 for all demand below 200 kW. This has been modelled by adjusting the meter fee downward resulting in a negative meter fee. | bar: Summer On-Peak=p/Mid=m/Off-Peak=o Periods 12p to Winter On-Peak=p/Mid=m/Off-Peak=o Periods 11a
Anaheim TOU (Above 500 kW) | 342.12 | 8.66 | 15.68 | 5.47 | 0 | 8.66 | 0 | 5.74 | 0 | 0.148 | 0.1171 | 0.0787 | 0 | 0.1248 | 0.0787 | 2017-05-01 | m | p | p | p | p | m | m | m | m | m | o | o | o | o | o | o | o | o | o | o | m | m | m | m | m | m | m | m | m | m | m | m | m | m | o | o | o | o | o | o | o | o | o | m | m | m | m | m | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 4 | Service above 500 kW | 500 | N/A | TOU
Burbank Schedule D (20-250kW) | 112.54 | 10.68 | 0 | 0 | 0 | 10.68 | 0 | 0 | 0 | 0.2091 | 0.1307 | 0.1046 | 0 | 0.1307 | 0.1046 | 2018-05-22 | m | m | m | m | p | p | p | m | m | m | m | o | o | o | o | o | o | o | o | o | m | m | m | m | m | m | m | m | p | p | p | m | m | m | m | o | o | o | o | o | o | o | o | o | m | m | m | m | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 5 | Service 20-250kW | 20 | 250 | TOU
Burbank Schedule L-TOU (250-1000kW) | 3196.14 | 19.17 | 0 | 0 | 0 | 19.17 | 0 | 0 | 0 | 0.1695 | 0.1059 | 0.0848 | 0 | 0.1059 | 0.0848 | 2018-05-22 | m | m | m | m | p | p | p | m | m | m | m | o | o | o | o | o | o | o | o | o | m | m | m | m | m | m | m | m | p | p | p | m | m | m | m | o | o | o | o | o | o | o | o | o | m | m | m | m | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 5 | Service 250-1000kW | 250 | 1000 | TOU
Burbank Schedule XL-TOU (1000+kW) | 15458.94 | 19.17 | 0 | 0 | 0 | 19.17 | 0 | 0 | 0 | 0.1695 | 0.1059 | 0.0848 | 0 | 0.1059 | 0.0848 | 2018-05-22 | m | m | m | m | p | p | p | m | m | m | m | o | o | o | o | o | o | o | o | o | m | m | m | m | m | m | m | m | p | p | p | m | m | m | m | o | o | o | o | o | o | o | o | o | m | m | m | m | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 5 | Service above 1000kW | 1000 | N/A | TOU
Imperial ID GL (Above 100 kW) | 140 | 6.75 | 0 | 0 | 0 | 6.75 | 0 | 0 | 0 | 0 | 0 | 0.093 | 0 | 0 | 0.093 | 2015-01-01 | [48 empty] | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 12 | General service above 100 kW | 0 | N/A | Tier | 0.093 |  |  |  |  | 0.093 | bar: Summer On-Peak=p/Mid=m/Off-Peak=o Periods 12p to Winter On-Peak=p/Mid=m/Off-Peak=o Periods 11a
Imperial ID PM (Any kW) Muni | 12 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.1141 | 0.1141 | 0.1141 | 0.1141 | 0.1141 | 0.1141 | 2015-01-01 | [48 empty] | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 12 | Municipal service at any power level | 0 | N/A | Tier | 0.1141 |  |  |  |  | 0.1141 | bar: Summer On-Peak=p/Mid=m/Off-Peak=o Periods 12p to Winter On-Peak=p/Mid=m/Off-Peak=o Periods 11a
LADWP A-2(B) TOU (>30 kW) | 28 | 6.78 | 10 | 3.75 | 0 | 6.78 | 4.75 | 0 | 0 | 0.09268 | 0.08531 | 0.06451 | 0.08631 | 0.08631 | 0.06828 | 2018-07-01 | m | p | p | p | p | m | m | m | o | o | o | o | o | o | o | o | o | o | o | o | o | o | m | m | m | p | p | p | p | m | m | m | o | o | o | o | o | o | o | o | o | o | o | o | o | o | m | m | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 4 | General service rate | 30 | N/A | TOU
Modesto (MID) GS-2 (20-1000 kW) | -161.2 | 10.31 | 0 | 0 | 0 | 10.31 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2017-01-01 | [48 empty] | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 5 | From 20 to 1000 kW, 10% municipal discount (GS-PAC) | 20 | 1000 | Tier | 0.1304 | 0.1019 |  | 20000 |  | 0.1065 | 0.0813 |  | 20000 |  | Modesto GS-2 charges no demand fee below 20 kW. This has been modeled by adjusting the meter fee downwards resulting in a negative meter fee. | bar: Summer On-Peak=p/Mid=m/Off-Peak=o Periods 12p to Winter On-Peak=p/Mid=m/Off-Peak=o Periods 11a
Modesto (MID) GS-3 (Above 1000 kW) | 195 | 17.78 | 0 | 0 | 0 | 17.78 | 0 | 0 | 0 | 0.1053 | 0.0811 | 0.0526 | 0.0694 | 0 | 0.0526 | 2017-01-01 | m | p | p | p | p | p | p | p | p | m | m | o | o | o | o | o | o | o | o | o | m | m | m | m | p | p | p | p | p | p | p | p | p | p | p | o | o | o | o | o | o | o | o | o | p | p | p | p | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 5 | Above 1000 kW, 10% municipal discount (GS-PAC) | 1000 | N/A | TOU
PG&E A-10 (Below 500 kW) | 140.0115 | 18.28 | 0 | 0 | 0 | 10.95 | 0 | 0 | 0 | 0.21833 | 0.1632 | 0.13513 | 0 | 0.13502 | 0.11796 | 2018-01-01 | p | p | p | p | p | p | m | m | m | m | o | o | o | o | o | o | o | o | o | o | o | m | m | m | m | m | m | m | m | m | m | m | m | m | o | o | o | o | o | o | o | o | o | o | o | m | m | m | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 6 | Service below 500 kW | 0 | 500 | TOU
PG&E CEV-S (Below 100 kW) | 0 | 2.5 | 0 | 0 | 0 | 2.5 | 0 | 0 | 0 | 0.3 | 0.12 | 0.09 | 0.3 | 0.12 | 0.09 | TBD | o | o | m | m | p | p | p | p | p | p | m | m | m | m | m | m | m | m | m | m | m | o | o | o | o | o | m | m | p | p | p | p | p | p | m | m | m | m | m | m | m | m | m | m | m | o | o | o | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 12 | Service above 100 kW | 0 | 100 | Subscription | [10 empty] | This is a proposed rate pending CPUC approval. PG&E CEV-S does not have demand fees. Instead, the customer selects a power level for their charging needs and pays a fixed monthly fee.
PG&E CEV-L (Above 100 kW) | 0 | 3.68 | 0 | 0 | 0 | 3.68 | 0 | 0 | 0 | 0.3 | 0.11 | 0.09 | 0.3 | 0.11 | 0.09 | TBD | o | o | m | m | p | p | p | p | p | p | m | m | m | m | m | m | m | m | m | m | m | o | o | o | o | o | m | m | p | p | p | p | p | p | m | m | m | m | m | m | m | m | m | m | m | o | o | o | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 12 | Service above 100 kW | 100 | N/A | Subscription | [10 empty] | This is a proposed rate pending CPUC approval. PG&E CEV-L does not have demand fees. Instead, the customer selects a power level for their charging needs and pays a fixed monthly fee.
PG&E E-19 (500-1000 kW) | 600.0494 | 17.57 | 18.64 | 5.18 | 0 | 17.57 | 0 | 0.12 | 0 | 0.15245 | 0.11194 | 0.08512 | 0 | 0.1064 | 0.09178 | 2018-01-01 | p | p | p | p | p | p | m | m | m | m | o | o | o | o | o | o | o | o | o | o | m | m | m | m | m | m | m | m | m | m | m | m | m | m | o | o | o | o | o | o | o | o | o | o | m | m | m | m | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 6 | Service above 500 kW | 500 | 1000 | TOU
PG&E E-20 (>1000 kW) | 1200.0985 | 17.45 | 18.05 | 5.01 | 0 | 17.45 | 0 | 0.05 | 0 | 0.14287 | 0.10602 | 0.08072 | 0 | 0.10067 | 0.08696 | 2017-07-01 | p | p | p | p | p | p | m | m | m | m | o | o | o | o | o | o | o | o | o | o | m | m | m | m | m | m | m | m | m | m | m | m | m | m | o | o | o | o | o | o | o | o | o | o | m | m | m | m | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 6 | Service above 1000 kW | 1000 | N/A | TOU
Riverside GS (Rate A) (20-150 kW) | 90 | 10.48 | 0 | 0 | 0 | 10.48 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2013-03-26 | o | o | o | o | o | o | o | o | o | o | o | o | o | o | o | o | o | o | o | o | o | o | o | o | o | o | o | o | o | o | o | o | o | o | o | o | o | o | o | o | o | o | o | o | o | o | o | o | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 12 | Service between 20-150 kW | 20 | 150 | Tier | 0.1111 | 0.1217 |  | 30000 |  | 0.1111 | 0.1217 |  | 30000
Riverside GS TOU (Above 150 kW) | 1804.66 | 0 | 6.88 | 2.74 | 1.31 | 0 | 6.88 | 2.74 | 1.31 | 0.1033 | 0.0828 | 0.0727 | 0.1033 | 0.0828 | 0.0727 | 2015-07-01 | p | p | p | p | p | p | m | m | m | m | m | o | o | o | o | o | o | o | o | o | m | m | m | m | m | m | m | m | m | p | p | p | p | o | o | o | o | o | o | o | o | o | o | o | m | m | m | m | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 4 | Service over 150 kW | 150 | N/A | TOU
Roseville Electric GS-2 (20-500 kW) | 65 | 6.16 | 0 | 0 | 0 | 6.16 | 0 | 0 | 0 | 0.13088 | 0.13088 | 0.13088 | 0.11018 | 0.11018 | 0.11018 | 2018-07-01 | o | o | o | o | p | p | p | m | m | m | o | o | o | o | o | o | o | o | o | m | m | m | m | m | o | o | o | o | p | p | p | m | m | m | o | o | o | o | o | o | o | o | o | m | m | m | m | m | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 4 | Service from 20 to 500 kW | 20 | 500 | TOU
Roseville Electric GS-3 (501-1000 kW) | 521 | 11.57 | 0 | 0 | 0 | 6.6 | 0 | 0 | 0 | 0.14818 | 0.11718 | 0.09638 | 0.09638 | 0.09638 | 0.07558 | 2018-07-01 | o | o | o | o | p | p | p | m | m | m | o | o | o | o | o | o | o | o | o | m | m | m | m | m | o | o | o | o | p | p | p | m | m | m | o | o | o | o | o | o | o | o | o | m | m | m | m | m | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 4 | Service from 501 to 1000 kW | 500 | 1000 | TOU
Roseville Electric GS-4 (Above 1000 kW) | 591 | 11.51 | 0 | 0 | 0 | 6.71 | 0 | 0 | 0 | 0.14818 | 0.11718 | 0.09638 | 0.09638 | 0.09638 | 0.07558 | 2017-01-01 | o | o | o | o | p | p | p | m | m | m | o | o | o | o | o | o | o | o | o | m | m | m | m | m | o | o | o | o | p | p | p | m | m | m | o | o | o | o | o | o | o | o | o | m | m | m | m | m | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 4 | Service above 1000 kW | 1000 | N/A | TOU
SCE EV-4 (EV 20-500 kW) | 228.58 | 15.89 | 0 | 0 | 0 | 15.89 | 0 | 0 | 0 | 0.28298 | 0.09667 | 0.05615 | 0.0928 | 0.07801 | 0.06079 | 2018-01-01 | p | p | p | p | p | p | m | m | m | m | m | o | o | o | o | o | o | o | o | o | m | m | m | m | p | p | p | p | p | p | m | m | m | m | m | o | o | o | o | o | o | o | o | o | m | m | m | m | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 4 | EV charging from 20 to 500 kW | 20 | 500 | TOU | [10 empty] | Customers using EV-4 will be transferred to EV-8 upon the effective schedule date of EV-8.
SCE EV-6 (EV above 500 kW) | 658.17 | 11.81 | 0 | 0 | 0 | 11.81 | 0 | 0 | 0 | 0.45897 | 0.09406 | 0.07316 | 0.08919 | 0.08518 | 0.07751 | 2018-06-01 | m | m | p | p | p | p | p | p | m | m | o | o | o | o | o | o | o | o | o | o | m | m | m | m | m | m | p | p | p | p | p | p | m | m | o | o | o | o | o | o | o | o | o | o | m | m | m | m | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 4 | EV charging >500 kW | 500 | N/A | TOU | [10 empty] | Customers using EV-6 will be transferred to EV-9 upon the effective schedule date of EV-9.
SCE EV-8 Yr. 1-5 (EV 20-500 kW) | 125.25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.45745 | 0.25125 | 0.11316 | 0.28656 | 0.12123 | 0.0628 | TBD | o | o | o | o | p | p | p | p | p | o | o | o | o | o | o | o | o | o | o | o | o | o | o | o | o | o | o | o | p | p | p | p | p | m | m | m | m | m | m | m | m | m | m | m | o | o | o | o | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 4 | EV charging from 20 to 500 kW, Year 1 through 5 | 20 | 500 | TOU | [10 empty] | SCE EV-8 has not been approved by the CPUC yet. This rate will be effective for five years after the effective date.
SCE EV-9 Yr. 1-5 (EV Above 500 kW) | 459.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.41331 | 0.22091 | 0.10078 | 0.25156 | 0.10556 | 0.06093 | TBD | o | o | o | o | p | p | p | p | p | o | o | o | o | o | o | o | o | o | o | o | o | o | o | o | o | o | o | o | p | p | p | p | p | m | m | m | m | m | m | m | m | m | m | m | o | o | o | o | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 4 | EV charging above 500 kW, Year 1 through 5 | 500 | N/A | TOU | [10 empty] | SCE EV-9 has not been approved by the CPUC yet. This rate will be effective for five years after the effective date.
SCE TOU-8 Option A (EV above 500 kW) | 658.17 | 19.02 | 0 | 0 | 0 | 19.02 | 0 | 0 | 0 | 0.33886 | 0.11042 | 0.05796 | 0 | 0.0745 | 0.06355 | 2018-06-01 | p | p | p | p | p | p | m | m | m | m | m | o | o | o | o | o | o | o | o | o | m | m | m | m | m | m | m | m | m | m | m | m | m | o | o | o | o | o | o | o | o | o | o | o | m | m | m | m | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 4 | EV charging service above 500 kW | 500 | N/A | TOU
SCE TOU-8 Option B (Above 500 kW) | 658.17 | 19.02 | 21.73 | 4.17 | 0 | 19.02 | 0 | 0 | 0 | 0.10327 | 0.07635 | 0.05796 | 0 | 0.0745 | 0.06355 | 2018-06-01 | p | p | p | p | p | p | m | m | m | m | m | o | o | o | o | o | o | o | o | o | m | m | m | m | m | m | m | m | m | m | m | m | m | o | o | o | o | o | o | o | o | o | o | o | m | m | m | m | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 4 | General service above 500 kW | 500 | N/A | TOU
SDG&E AL-TOU - EECC-CPP-D (20-500 kW) | 163.02 | 21 | 16.48 | 0 | 0 | 21 | 16.44 | 0 | 0 | 0.13731 | 0.11565 | 0.08863 | 0.11621 | 0.10369 | 0.08982 | 2018-07-01 | m | m | m | m | p | p | p | p | p | m | m | m | o | o | o | o | o | o | m | m | m | m | m | m | m | m | m | m | p | p | p | p | p | m | m | m | o | o | o | o | o | o | m | m | m | m | m | m | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 6 | Service from 20-500 kW with critical peak pricing | 20 | 500 | TOU | [10 empty] | SDG&E can apply Critical Peak Pricing which would raise energy costs by $2.20/kWh between 2-6 PM up to 18 days a year. See EECC-CPP-D schedule for more detail.
SDG&E AL-TOU - EECC-CPP-D (Above 500 kW) | 652.04 | 21 | 16.48 | 0 | 0 | 21 | 16.44 | 0 | 0 | 0.13731 | 0.11565 | 0.08863 | 0.11621 | 0.10369 | 0.08982 | 2018-07-01 | m | m | m | m | p | p | p | p | p | m | m | m | o | o | o | o | o | o | m | m | m | m | m | m | m | m | m | m | p | p | p | p | p | m | m | m | o | o | o | o | o | o | m | m | m | m | m | m | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 6 | Service above 500 kW with critical peak pricing | 500 | N/A | TOU | [10 empty] | SDG&E can apply Critical Peak Pricing which would raise energy costs by $2.20/kWh between 2-6 PM up to 18 days a year. See EECC-CPP-D schedule for more detail.
SDG&E AL-TOU - EECC (20-500 kW) | 163.02 | 21 | 27.47 | 0 | 0 | 21 | 16.44 | 0 | 0 | 0.13918 | 0.11736 | 0.08863 | 0.11621 | 0.10369 | 0.08982 | 2018-07-01 | m | m | m | m | p | p | p | p | p | m | m | m | o | o | o | o | o | o | m | m | m | m | m | m | m | m | m | m | p | p | p | p | p | m | m | m | o | o | o | o | o | o | m | m | m | m | m | m | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 5 | Service from 20-500 kW without critical peak pricing | 20 | 500 | TOU | [10 empty] | SDG&E has two commodity schedules available - EECC and EECC-CPP-D. EECC has higher demand charges but does not have Critical Peak Periods.
SDG&E AL-TOU - EECC (Above 500 kW) | 652.04 | 21 | 27.47 | 0 | 0 | 21 | 16.44 | 0 | 0 | 0.13918 | 0.11736 | 0.08863 | 0.11621 | 0.10369 | 0.08982 | 2018-07-01 | m | m | m | m | p | p | p | p | p | m | m | m | o | o | o | o | o | o | m | m | m | m | m | m | m | m | m | m | p | p | p | p | p | m | m | m | o | o | o | o | o | o | m | m | m | m | m | m | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 5 | Service above 500 kW without critical peak pricing | 500 | NA | TOU | [10 empty] | SDG&E has two commodity schedules available - EECC and EECC-CPP-D. EECC has higher demand charges but does not have Critical Peak Periods.
SDG&E AL-TOU2 - EECC-CPP-D (20-500 kW) | 310.34 | 12.48 | 2.85 | 0 | 0 | 12.48 | 0.69 | 0 | 0 | 0.12584 | 0.10613 | 0.08084 | 0.10505 | 0.0945 | 0.08192 | 2018-07-01 | m | m | m | m | p | p | p | p | p | m | m | m | o | o | o | o | o | o | m | m | m | m | m | m | m | m | m | m | p | p | p | p | p | m | m | m | o | o | o | o | o | o | m | m | m | m | m | m | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 5 | Optional service from 20-500 kW with critical peak pricing | 20 | 500 | TOU | [10 empty] | SDG&E can apply Critical Peak Pricing which would raise energy costs by $3.84/kWh between 2-6 PM up to 18 days a year. See EECC-CPP-D schedule for more detail.
SDG&E AL-TOU2 - EECC-CPP-D (Above 500 kW) | 744.64 | 12.48 | 2.85 | 0 | 0 | 12.48 | 0.69 | 0 | 0 | 0.12584 | 0.10613 | 0.08084 | 0.10505 | 0.0945 | 0.08192 | 2018-07-01 | m | m | m | m | p | p | p | p | p | m | m | m | o | o | o | o | o | o | m | m | m | m | m | m | m | m | m | m | p | p | p | p | p | m | m | m | o | o | o | o | o | o | m | m | m | m | m | m | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 5 | Optional service above 500 kW with critical peak pricing | 500 | N/A | TOU | [10 empty] | SDG&E can apply Critical Peak Pricing which would raise energy costs by $3.84/kWh between 2-6 PM up to 18 days a year. See EECC-CPP-D schedule for more detail.
SDG&E AL-TOU2 - EECC (20-500 kW) | 310.34 | 31.09 | 2.85 | 0 | 0 | 12.23 | 0.69 | 0 | 0 | 0.12772 | 0.10784 | 0.08084 | 0.10585 | 0.0945 | 0.08192 | 2018-07-01 | m | m | m | m | p | p | p | p | p | m | m | m | o | o | o | o | o | o | m | m | m | m | m | m | m | m | m | m | p | p | p | p | p | m | m | m | o | o | o | o | o | o | m | m | m | m | m | m | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 5 | Optional service from 20-500 kW without critical peak pricing | 20 | 500 | TOU | [10 empty] | SDG&E has two commodity schedules available - EECC and EECC-CPP-D. EECC has higher demand charges but does not have Critical Peak Periods.
SDG&E AL-TOU2 - EECC (Above 500 kW) | 744.64 | 31.09 | 2.85 | 0 | 0 | 12.23 | 0.69 | 0 | 0 | 0.12772 | 0.10784 | 0.08084 | 0.10585 | 0.0945 | 0.08192 | 2018-07-01 | m | m | m | m | p | p | p | p | p | m | m | m | o | o | o | o | o | o | m | m | m | m | m | m | m | m | m | m | p | p | p | p | p | m | m | m | o | o | o | o | o | o | m | m | m | m | m | m | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 5 | Optional service above 500 kW without critical peak pricing | 500 | N/A | TOU | [10 empty] | SDG&E has two commodity schedules available - EECC and EECC-CPP-D. EECC has higher demand charges but does not have Critical Peak Periods.
Silicon Valley (SVP) C-1 Non-TOU (0-4000 kW) | 6.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2017-01-01 | p | p | p | p | p | p | p | p | p | p | o | o | o | o | o | o | o | o | p | p | p | p | p | p | p | p | p | p | p | p | p | p | p | p | o | o | o | o | o | o | o | o | p | p | p | p | p | p | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 12 | Service for less than 8,000 kWh per month at less than 4,000 kW | 0 | 4000 | Tier | 0.17533 | 0.15917 |  | 800 |  | 0.17533 | 0.15917 |  | 800 |  | The TOU option is not included in this calculator.
Silicon Valley (SVP) CB-1 TOU (0-4000 kW) | 66.17 | 0 | 8 | 0 | 0 | 0 | 8 | 0 | 0 | 0.12178 | 0 | 0.09363 | 0.12178 | 0 | 0.09363 | 2017-01-01 | p | p | p | p | p | p | p | p | p | p | o | o | o | o | o | o | o | o | p | p | p | p | p | p | p | p | p | p | p | p | p | p | p | p | o | o | o | o | o | o | o | o | p | p | p | p | p | p | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 12 | Service for more than 8,000 kWh per month at less than 4,000 kW | 0 | 4000 | TOU
Silicon Valley (SVP) CB-1 Non-TOU (0-4000 kW) | 66.17 | 8 | 0 | 0 | 0 | 8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2017-01-01 | o | o | o | o | o | o | o | o | o | o | o | o | o | o | o | o | o | o | o | o | o | o | o | o | o | o | o | o | o | o | o | o | o | o | o | o | o | o | o | o | o | o | o | o | o | o | o | o | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 12 | Service for more than 8,000 kWh per month at less than 4,000 kW | 0 | 4000 | Tier | 0.10629
Silicon Valley (SVP) CB-3 TOU (Above 4000 kW) | 66.17 | 0 | 10.66 | 0 | 0 | 0 | 10.66 | 0 | 0 | 0.1135 | 0 | 0.08521 | 0.1135 | 0 | 0.08521 | 2017-01-01 | p | p | p | p | p | p | p | p | p | p | o | o | o | o | o | o | o | o | p | p | p | p | p | p | p | p | p | p | p | p | p | p | p | p | o | o | o | o | o | o | o | o | p | p | p | p | p | p | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 12 | Service over 4,000 kW | 4000 | N/A | TOU
Silicon Valley (SVP) CB-3 Non-TOU (Above 4000 kW) | 66.17 | 10.66 | 0 | 0 | 0 | 10.66 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2017-01-01 | o | o | o | o | o | o | o | o | o | o | o | o | o | o | o | o | o | o | o | o | o | o | o | o | o | o | o | o | o | o | o | o | o | o | o | o | o | o | o | o | o | o | o | o | o | o | o | o | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 12 | Service over 4,000 kW | 4000 | N/A | Tier | 0.09789
SMUD GS GSS_T (21-300 kW) | 24.55 | 7.58 | 0 | 0 | 0 | 7.58 | 0 | 0 | 0 | 0.2623 | 0.0905 | 0.0921 | 0 | 0 | 0.1037 | 2017-01-01 | o | o | o | p | p | p | o | o | o | o | o | o | o | o | o | o | o | o | o | o | o | o | o | o | o | o | o | o | o | o | o | o | o | o | o | o | o | o | o | o | o | o | o | o | o | o | o | o | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 4 | Service from 21-300 kW | 21 | 300 | TOU
SMUD GS-TOU1 (Above 1000 kW) | 107.95 | 4.02 | 0 | 0 | 0 | 4.02 | 0 | 0 | 0 | 0.1696 | 0.1357 | 0.1089 | 0 | 0.1094 | 0.0871 | 2017-01-01 | m | m | p | p | p | p | p | p | m | m | o | o | o | o | o | o | o | o | o | o | o | o | o | o | m | m | m | m | m | m | m | m | m | m | o | o | o | o | o | o | o | o | o | o | o | o | o | o | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 0 | 0 | 0 | 3 | Service from 500 to 1000 kW | 1000 | N/A | TOU
SMUD GS-TOU2 (500-1000 kW) | 107.95 | 2.85 | 6.98 | 0 | 0 | 2.85 | 0 | 0 | 0 | 0.1965 | 0.1358 | 0.1049 | 0 | 0.1044 | 0.083 | 2017-01-01 | m | m | p | p | p | p | p | p | m | m | o | o | o | o | o | o | o | o | o | o | o | o | o | o | m | m | m | m | m | m | m | m | m | m | o | o | o | o | o | o | o | o | o | o | o | o | o | o | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 0 | 0 | 0 | 3 | Service from 500 to 1000 kW | 500 | 1000 | TOU
SMUD GS-TOU3 (300-500 kW) | 107.95 | 3.8 | 7.65 | 0 | 0 | 3.8 | 0 | 0 | 0 | 0.2022 | 0.1387 | 0.1106 | 0.1059 | 0 | 0.0844 | 2017-01-01 | m | m | p | p | p | p | p | p | m | m | o | o | o | o | o | o | o | o | o | o | o | o | o | o | m | m | m | m | m | m | m | m | m | m | o | o | o | o | o | o | o | o | o | o | o | o | o | o | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 0 | 0 | 0 | 3 | Service from 300 to 500 kW | 300 | 500 | TOU
Turlock ID MD (35 kW and Over) | 82 | 13.77 | 0 | 0 | 0 | 11.76 | 0 | 0 | 0 | 0 | 0 | 0.0792 | 0 | 0 | 0.0601 | 2015-01-01 | o | o | o | o | o | o | o | o | o | o | o | o | o | o | o | o | o | o | o | o | o | o | o | o | o | o | o | o | o | o | o | o | o | o | o | o | o | o | o | o | o | o | o | o | o | o | o | o | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 6 | Municipal service above 35 kW | 35 | 499 | Tier | 0.0792 |  |  |  |  | 0.0601
User Input Utility Rate | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | [49 empty] | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 6 | Enter user information on "Input Tab at bottom of Utility Rate Table. | 0 | 500 | Tier | 0.1 | 0.5 | 1 | 5000 | 10000 | 0.1 | 0.5 | 1 | 5000 | 10000 | bar: TBD TBD to o o
Note on B33: Anaheim GS-1 charges $126.20 for all demand below 15 kW. This has been modeled by adjusting the meter fee downwards resulting in a negative meter fee. 46.97 + 126.2 - 15*12.27 = -10.88
Note on B34: Anaheim GS-2 charges $2769.00 for all demand below 200 kW. This has been modelled by adjusting the meter fee downward resulting in a negative meter fee. 360.91 + 2769 - 200*15.65 = -0.09
Note on B42: Modesto GS-2 charges no demand fee below 20 kW. This has been modeled by adjusting the meter fee downwards resulting in a negative meter fee. $45 - 20* 10.31 = -$161.20
Note on CH34: The tier limit is set at 540kWh*the kW of demand, the 200kW is an estimate